## Slide 1: Lecture 23
Polarization Optics

## Slide 2: Jones Vectors
Or better in a normalized form
z
y
x
S
Ey
Ex
E
Represent electric field for a given direction of a ray vector s
as a column vector
Jones vector with generally complex components
Linearly polarized light
x
y
q
Horizontally polarized
x
y
Vertically polarized
x
y

## Slide 3: Circular Polarization
z
y
x
S
Ey
Ex
Consider the wave that can be described as
E0-real
E0
+
-
“-” wave rotates clockwise –right circularly polarized
“+” wave rotates counterclockwise –left circularly polarized
Right polarized light
x
y
Left polarized light
x
y
Relation between circular and linear polarizations
Orthogonality

## Slide 4: Elliptical Polarization
z
y
x
S
Ey
Ex
Consider the wave that can be described as
E0-real
E
+
-
Eoy
Eox
Jones vector
More generally the axes can be rotated by angle Y
Here we have half-axes oriented along x and y
x
y
E
+
-
x'
y'
Y

## Slide 5: Producing polarized light using Fresnel reflection
Using Brewster angle
Good for high power lasers
If we create a stack of thin layers that have a Brewster angle corresponding to 45 degrees incidence angle
Polarizing beamsplitter cube

## Slide 6: Wire polarizers
Consider wire grid polarizer in microwaves
z
Ey
Ex
Vertical conductivity is much larger than a horizontal one. In other words, imaginary part of vertical dielectric constant is larger than the horizontal one. Vertically polarized component interacts with electrons in wires and gets absorbed, while the horizontal component passes “unmolested”
Ex
The polarizer can be characterized by the Jones matrix
Apply it to the arbitrary linearly polarized light
q
a<<l

## Slide 7: Tourmaline, Polaroid film, and other Dichroic polarizers
In optical range we need very thin sub-wavelength wires –look for the material with a natural fibrous structure
Tourmaline contains Al2O3, B2O3, and SiO2
Polaroid – long chains of hydrocarbons with iodine supplying electrons that can move along these long chains
1909-1991

## Slide 8: Polarizers based on double refraction and total internal reflection
(1) Nicol Prism
CaCO3 (no=1.658; ne=1.486)
68
O.A.
Canada Balsam n=1.55
Ordinary ray is TIR’d and then absorbed
Extraordinary ray goes through
Problems: narrow field of view, light is partially elliptically polarized due to inclined face
(2) Glan Thompson Prism
O.A.
Field of view is larger but the polarizer is quite long

## Slide 9: Polarizers based on double refraction and total internal reflection
(3) Glan-Foucault (or Glan Air) Prism
CaCO3 (no=1.658; ne=1.486)
O.A.
q
Use calcite-air interface
Critical angle for the ordinary ray
Critical angle for the extraordinary ray
Need apex angle
Typically q=39
Advantage –small size and good aspect ratio
Disadvantage –narrow field of view ~8

## Slide 10: More polarizers
(4) Wollaston Prism
O.A.
O.A.
No air gap – different orientation
Horizontally-polarized ray – from high ordinary index into low extraordinary index
Vertically-polarized ray – from low extraordinary index into high ordinary index

## Slide 11: Malus law
Consider two polarizers whose directions of polarization are rotated by angle θ (without loss of generality we assume the first polarizer to produce horizontally polarized light
θ
Total matrix
Assuming that the input light is not polarized
Étienne-Louis Malus (1775-1812)
Variable laser attenuator- two polarizers, one of which is rotated

## Slide 12: Retardation plates
Retardation plates are phase-shifting devices capable of turning linearly polarized light into circular/elliptical one and vice versa. To take advantage of maximum birefringence the optical axis us parallel to the face
z
f
s
s-slow axis (larger refractive index)
f-fast axis (smaller refractive index)
d
Phase retardation for the slow component
Phase retardation for the fast component
If the incoming light has polarization state
The output polarization state is

## Slide 13: Half and Quarter Waveplates
Jones Matrix
(A) Half-wavelength plate
Reverses phases of s and f components
(B) Quarter-wavelength plate
Introduces 90 degrees shift between s and f components

## Slide 14: Rotated Waveplates
Jones Matrix describes Retardation plate in s-f coordinates but we need to use it in x-y coordinates, rotated by an angle 
x
y
s
f

To transform Jones vector from x-y system to s-f system use rotation matrix
Similarly
Consider retardation plate in x-y coordinates
E

## Slide 15: Waveplates rotated by 45 degrees
Consider retardation plate in x-y coordinates
z
f
d
s
45
x
y
Consider Plate rotated by 45 degrees

## Slide 16: Half Waveplates rotated by 45 degrees
z
f
l/2
s
45
x
y
Consider l/2 Plate rotated by 45 degrees
Consider horizontally polarized input wave
Polarization is rotated 90 degrees
z
f
l/2
s
45
x
y
Consider circularly polarized input wave
Helicity is reversed

## Slide 17: Quarter Wave Plates rotated by 45 degrees
z
f
l/4
s
45
x
y
Consider l/4 Plate rotated by 45 degrees
Consider horizontally polarized input wave
Linearly polarized light becomes circularly polarized
z
f
l/4
s
45
x
y
Consider circularly polarized input wave
Circularly polarized light becomes linearly polarized

## Slide 18: Variable optical attenuator based on rotating HWP
z
f
d
s
ψ
x
y
Consider a HWP rotated by an arbitrary angle ψ relative to horizontal axis
Place the wave plate between two horizontal polarizers
So the transmittance is proportional to

## Slide 19: Lyot filter
Consider a transmission spectrum of a retardation plate of N-th order designed to be a Full WP for the wavelength λ0 placed between two polarizers and rotated 45 degrees.
Jones matrix is
Transmission is
Let us make a sequence
d
2d
4d
2md
Transmission is a product of transmissions of stages
Filter combines narrow pass band with wide free spectral range (FSR)
Filter can be tuned electrically
BERNARD LYOT
1897–1952

## Slide 20: Šolc Filter
θ
z
f
λ/2
s
ψ
x
y
Consider a HWP rotated by an arbitrary angle ψ relative to horizontal axis
Incoming light is polarized at angle θ
Output field is
x
y
s
f
ψ
θ
Ein
Eout
Polarization rotated by the angle
Polarization direction is “reflected” from the fast axis
θ1
θ1
Eout

## Slide 21: Šolc Filter
z
x
y
f
s
ψ
f
s
-ψ
f
s
-ψ
f
s
ψ
f
s
-ψ
f
λ/2
s
ψ
N pairs of HWP’s rotated alternatively by +ψ and -ψ relative to the horizontal axis
If we start with horizontally polarized light here is how its polarization rotates:
+ψ
-ψ
after the 1st plate θ1=2ψ
after the 2nd plate θ2=-4ψ
after the 3nd plate θ2=6ψ
…..
after the Nth plate θN=(-1)N-1 2Nψ=-π/2
Light is now vertically polarized!

## Slide 22: Šolc Filter
For different wavelength HWP is not HWP,
N=10
N=20
Frequency λ0/ λ
Transmission

## Slide 23: Polarization controllers
In order to transform one elliptical polarization to another one need to control two independent parameters in Jones vector – relative amplitude and phase
In principle two birefringent elements can do the job, but usually one uses a combination of 3 elements QWP followed by HWP followed by another QWPThe plates, and hence directions of s and f axes can rotate.
λ/4
λ/2
λ/4
The first QWP transforms elliptical polarization into linear
The HQP rotates linear polarization
The second QWP (if necessary) transform linear polarization into another elliptical

## Slide 24: Birefringence in optical fibers
When optical fiber is bent the cylindrical symmetry is no longer maintained and the fiber becomes birefringent with two orthogonal modes propagating corresponding to slow and fast waves in the crystal
s
f
Therefore, fiber coil can serve as waveplates .
3 paddles (or “bat ear”) polarization controller .

## Slide 25: Babinet and Soleil Compensators
They are essentially variable waveplates and can be N=1 order without being too thin
d1
d2
d1
d2
Jacques Babinet
1794-1872
Jean-Baptiste-François
Soleil 1798-1878

## Slide 26: Optical Isolation
One wants to direct all the reflected light onto the detector and keep it from the laser itself (parasitic feedback)
Laser
l/4
Detector
Laser is linearly polarized
H
H
After one pass through l/4 plate
L
R
Ref
Reflector –changes left to right
Since when we go back y changes sign
After the second pass through l/4 plate
Two passes through l/4 are equivalent to one pass through l/2
V

## Slide 27: Anti-Glare Screen
Consider now the situation when the incoming light is not polarized
l/4
H
L
R
Ref
Faceplate
V
All the straight light gets absorbed
Faceplate
l/4
Emitting layer
What about the unpolarized light that is emitted ?
Randomly-polarized light is still randomly polarized after l/4
H
One half of power comes out

## Slide 28: 3D Movie
Consider combination of PH=polarizer and l/4 plate with axes rotated 45 degrees relative to horizontal axis.
l/4
If we come with right circularly-polarized light
R
If we come with left circularly-polarized light
L
What if we rotate the whole assembly around z –axis (head tilt)?
Same matrix M – right polarized light still goes through while left polarized light gets blocked

## Slide 29: Polarizing microscope
Often the object is perfectly transparent but has index variations and birefringent. Then one can “see” the changes in phase
If the axes of object are aligned with XY
If the axes of object are rotated 45
Object is visible when illuminated with unpolarized light
Anisotropy is often caused by strain
Illumination
Object on the rotating stage
Polarizer
Analyzer
s
f
the light intensity is proportional to

## Slide 30: Polarizing microscope
We can sense the phase (index) changes by probing phase in two orthogonal polarizations and then interfering two rays

## Slide 31: Polarizing microscope Images
Cholesterol
Vitamin E
Dog hair
Granite
Marble
Mica